## Slide 1
Only presentation for Professional Customer
www.rangdong.com.vn

## Slide 2
Product Feature
Stable quality
No LGP, No yellowing
Cheaper than flat panel
Bright, uniform and soft light, no dark space
Flicker Free
Applications:
● Perfect for supermarket, bar, cafe, clothing store, living room, etc
3000K
4000K
6500K
Options: Changing 3 CCT by Switch
1.LED Living Room Light
Mounted close to the ceiling
Mounted away from the ceiling
500x500/50W
540x540/50W

## Slide 3
Specifications:
No. | Item | Specification
1 | Driver type | Buck, Flicker free
2 | Rated Power | 50W
3 | Rated Input Voltage | 220V/60Hz
4 | Power Factor | ≥ 0.9
5 | Luminous Flux | 4500lm
6 | Efficacy | 90lm/W
7 | Beam angle | 110°
8 | Color Rendering Index | ≥ 80
9 | Color Temperature | 5700K or changing 3CCT
10 | Operating Temperature | -10 ~ 45 oC
11 | Frame | Aluminum 6063
12 | EMC | Pass
13 | Applied Standard | KC 60598-1/ KC 60598-2-2
14 | Size | L500×W500×H70mm
15 | Mass | 1.7kg
16 | Life time | 25,000hrs
17 | Warranty | 2years
Lens + PS diffuser
Uniform and soft light, no dark space
Aluminum frame
Smooth curved edges
Easy to install with Lock & Bracket
High quality Driver
Flicker Free
3000K
4000K
6500K
Options: Changing 3 CCT by Switch
Use Korea LED package
1.1 LED Living Room Light 500x500/50W
Light Distribution

## Slide 4
Specifications:
No. | Item | Specification
1 | Driver type | Buck, Flicker free
2 | Rated Power | 50W
3 | Rated Input Voltage | 220V/60Hz
4 | Power Factor | ≥ 0.9
5 | Luminous Flux | 4500lm
6 | Efficacy | 90 lm/W
7 | Beam angle | 110°
8 | Color Rendering Index | ≥ 80
9 | Color Temperature | 5700K or changing 3CCT
10 | Operating Temperature | -10 ~ 45 oC
11 | Frame | Aluminum 6063
12 | EMC | Pass
13 | Applied Standard | KC 60598-1/ KC 60598-2-2
14 | Size | L540×W540×H47mm
15 | Mass | 2.3kg
16 | Lifetime | 25,000hrs
17 | Warranty | 2years
Lens + PS diffuser
Uniform and soft light, no dark space
High quality Driver
Flicker Free
3000K
4000K
6500K
Options: Changing 3 CCT by Switch
Use Korea LED package
1.2 LED Living Room Light 540x540/50W
Easy to install, close to the ceiling surface
Aluminum frame
smooth curved edges
Light Distribution

## Slide 5
Product Feature
Stable quality
Bright, uniform and soft light, no dark space
Flicker Free
Applications:
● Perfect for supermarket, office, store, housing, etc
4000K
6500K
3000K
Options: Changing 3 CCT by Switch
2. LED Ceiling Light

## Slide 6
Specifications:
No. | Item | Specification
1 | Driver type | Buck, Flicker free
2 | Rated Power | 50W
3 | Rated Input Voltage | 220V/60Hz
4 | Power Factor | ≥ 0.9
5 | Luminous Flux | 4500lm
6 | Efficacy | 90 lm/W
7 | Beam angle | 120°
8 | Color Rendering Index | ≥ 80
9 | Color Temperature | 5700K or changing 3CCT
10 | Operating Temperature | -10 ~ 45 oC
11 | Back plate | Steel
12 | EMC | Pass
13 | Applied Standard | KC 60598-1/ KC 60598-2-2
14 | Size | ɸ450 × H80mm
15 | Mass | 1.0kg
16 | Lifetime | 25,000hrs
17 | Warranty | 2years
Lens + PS diffuser
Uniform and soft light, no dark space
Use Korea LED package
2.1. LED Ceiling Light 450/50W
Easy to install with bracket
4000K
6500K
3000K
Options: Changing 3 CCT by Switch
High quality Driver
Flicker Free
Light Distribution

## Slide 7
Specifications:
No. | Item | Specification
1 | Driver type | Buck, Flicker free
2 | Rated Power | 60W
3 | Rated Input Voltage | 220V/60Hz
4 | Power Factor | ≥ 0.9
5 | Luminous Flux | 4500lm
6 | Efficacy | 90 lm/W
7 | Beam angle | 120°
8 | Color Rendering Index | ≥ 80
9 | Color Temperature | 5700K or changing 3CCT
10 | Operating Temperature | -10 ~ 45 oC
11 | Back plate | Steel
12 | EMC | Pass
13 | Applied Standard | KC 60598-1/ KC 60598-2-2
14 | Size | ɸ550 × H80mm
15 | Mass | 1.8kg
16 | Lifetime | 25,000hrs
17 | Warranty | 2years
Lens + PS diffuser
Uniform and soft light, no dark space
High quality Driver
Flicker Free
Use Korea LED package
1.2. LED Ceiling Light 550/60W
Easy to install with bracket
4000K
6500K
3000K
Options: Changing 3 CCT by Switch
Light Distribution