## Slide 1
1. LED Glass Tube
Model | Power | Size (D×L)mm | Voltage | PF | Lumens (lm) ±10% | Efficacy (lm/W) | CCT (K) | Ra | Cap | Body Material | Life time (hour) | FOB Haiphong port, Vietnam (USD) | 
 |  |  |  |  |  |  |  |  |  |  |  | MOQ 10K pcs | MOQ 20K pcs
LED Glass Tube 130lm/W | 10W | 26×603 | 150 – 250 50/60Hz | 0.5 | 1300 | 130 | 3000/ 6500 | > 80 | PC, G13 | Glass | 20,000 |  | 
 | 20W | 26×1213 | 150 – 250 50/60Hz | 0.5 | 2600 | 130 | 3000/ 6500 | > 80 | PC, G13 | Glass | 20,000 |  | 
LED Glass Tube 110lm/W | 10W | 26×603 | 150 – 250 50/60Hz | 0.5 | 1100 | 110 | 3000/ 6500 | > 80 | PC, G13 | Glass | 20,000 |  | 
 | 20W | 26×1213 | 150 – 250 50/60Hz | 0.5 | 2200 | 110 | 3000/ 6500 | > 80 | PC, G13 | Glass | 20,000 |  | 
Specifications
High-quality powder coating: strong color rendering, low light decay, not easy to change color
Constantly stable current driver
Lamp head: hitting resistant, high temperature resistant, flame retardant
Applied standard: IEC 62776
Packing: Foam, 25 pcs/carton
Feature
Polar Diagram Comparison

## Slide 2
2. LED Glass Tube EMC
Model | Power | Size (D×L)mm | Voltage | PF | Lumens (lm) ±10% | Efficacy (lm/W) | CCT (K) | Ra | Cap | Body Material | Life time (hour) | FOB Haiphong port, Vietnam (USD) | 
 |  |  |  |  |  |  |  |  |  |  |  | MOQ 10K pcs | MOQ 20K pcs
LED Glass Tube EMC, Surge 1.5kV | 10W | 26×603 | 150 – 250 50/60Hz | 0.5 | 1100 | 110 | 3000/ 6500 | > 80 | PC, G13 | Glass | 20,000 |  | 
 | 20W | 26×1213 | 150 – 250 50/60Hz | 0.5 | 2200 | 110 | 3000/ 6500 | > 80 | PC, G13 | Glass | 20,000 |  | 
Specifications
High-quality powder coating: strong color rendering, low light decay, not easy to change color
Constantly stable current driver
Lamp head: hitting resistant, high temperature resistant, flame retardant
Applied standard: IEC 62776
Packing: Foam, 25pcs/carton
Feature
Polar Diagram Comparison

## Slide 3
Specifications
Feature
Replacement of incandescent and compact fluorescent lamp.
70% energy savings compared to existing incandescent bulbs.
Eco-friendly, no mercury, no UV or IR Radiation
Safe use, flicker free
Wide-angle light distribution
Applied standard: IEC 62560 & IEC 62612
3. BULB A
Application:
Hotel, office, meeting room, show room, shop, supermarket, living room, kitchen and other commercial places.
Packing: 50pcs/carton
7W
9W
12W
15W
20W
Model | Power (W) | Size (D×L) mm | Voltage | PF | Lumens (lm) ±10% | Efficacy (lm/W) | CCT (K) | Ra | Cap | Body Material | Life time (hour) | FOB Haiphong port, Vietnam (USD)
 |  |  |  |  |  |  |  |  |  |  |  | MOQ 10K pcs
A55 5W | 5 | 55×101 | 150 – 250 50/60Hz | 0.5 | 450 | 90 | 3000/6500 /7500 | > 80 | E27 | PC | 10,000 | 
A60 7W | 7 | 60×111 | 150 – 250 50/60Hz | 0.5 | 630 | 90 | 3000/6500 /7500 | > 80 | E27 | AL-PC | 15,000 | 
A60 9W | 10 | 60×111 | 150 – 250 50/60Hz | 0.5 | 830 | 92 | 3000/6500 /7500 | > 80 | E27 | AL-PC | 15,000 | 
A65 12W | 12 | 65x126 | 150 – 250 50/60Hz | 0.5 | 1080 | 90 | 3000/6500 /7500 | > 80 | E27 | AL-PC | 15,000 | 
A70 15W | 15 | 70x138 | 150 – 250 50/60Hz | 0.5 | 1380 | 92 | 3000/6500 /7500 | > 80 | E27 | AL-PC | 15,000 | 
A80 18W | 20 | 80×155 | 150 – 250 50/60Hz | 0.5 | 1900 | 95 | 3000/6500 /7500 | > 80 | E27 | AL-PC | 15,000 | 

## Slide 4
Specifications
4. SLIM ROUND PANEL
hotel, office, meeting room, show room, shop, hospital, supermarket, bathroom, bedrooms, living room, kitchen and other commercial places.
Application:
Feature
Thin and strong aluminum alloy frame structure and not easily deformed
Easy and quick installation to save labor costs
No flicker to protect human eyes
High CRI > 80 ensures more vivid and natural light
Environment friendly: No lead or mercury and No UV or IR Radiation
Long lifetime : 35,000 hrs
Model | Power (W) | Size (D×L) mm | Cut hole (mm) | Voltage (V) | PF | Lumens (lm) 10% | CCT (K) | Ra | Beam angle (o) | IP | Life time (hours) | FOB Haiphong port, Vietnam (USD)
 |  |  |  |  |  |  |  |  |  |  |  | MOQ 10K pcs
PN 80/3W | 3 | 80×14 | 70 | 100 – 265 50/60Hz | 0.5 | 160 | 3000/4000/ 6500 | > 80 | 110 | 20 | 35,000 | 
PN 120/6W | 6 | 120×14 | 105 | 100 – 265 50/60Hz | 0.5 | 420 | 3000/4000/ 6500 | > 80 | 110 | 20 | 35,000 | 
PN 145/9W | 9 | 145×14 | 130 | 100 – 265 50/60Hz | 0.5 | 660 | 3000/4000/ 6500 | > 80 | 110 | 20 | 35,000 | 
PN 170/12W | 12 | 170x14 | 155 | 100 – 265 50/60Hz | 0.5 | 1050 | 3000/4000/ 6500 | > 80 | 110 | 20 | 35,000 | 
PN 225/18W | 18 | 225x14 | 210 | 100 – 265 50/60Hz | 0.5 | 1720 | 3000/4000/ 6500 | > 80 | 110 | 20 | 35,000 |