## Slide 1
1. LED Glass Tube
Model | Power | Size (DL)mm | Voltage | PF | Lumens (lm) ±10% | Efficacy (lm/W) | CCT (K) | Ra | Cap | Body Material | Life time (hour) | FOB Haiphong port, Vietnam (USD) | 
 |  |  |  |  |  |  |  |  |  |  |  | MOQ 10K pcs | MOQ 20K pcs
LED Glass Tube 130lm/W | 10W | 26603 | 150 – 250 50/60Hz | 0.5 | 1300 | 130 | 3000/ 6500 | > 80 | PC, G13 | Glass | 20,000 |  | 
 | 20W | 261213 | 150 – 250 50/60Hz | 0.5 | 2600 | 130 | 3000/ 6500 | > 80 | PC, G13 | Glass | 20,000 |  | 
LED Glass Tube 110lm/W | 10W | 26603 | 150 – 250 50/60Hz | 0.5 | 1100 | 110 | 3000/ 6500 | > 80 | PC, G13 | Glass | 20,000 |  | 
 | 20W | 261213 | 150 – 250 50/60Hz | 0.5 | 2200 | 110 | 3000/ 6500 | > 80 | PC, G13 | Glass | 20,000 |  | 
Specifications
High-quality powder coating: strong color rendering, low light decay, not easy to change color
Constant current driver
Lamp head: impact resistant, high temperature resistant, flame retardant
Applied standard: IEC 62776
Packing: Foam, 25 pcs/carton
Feature
Polar Diagram Comparison

## Slide 2
2. LED Glass Tube EMC
Model | Power | Size (DL)mm | Voltage | PF | Lumens (lm) ±10% | Efficacy (lm/W) | CCT (K) | Ra | Cap | Body Material | Life time (hour) | FOB Haiphong port, Vietnam (USD) | 
 |  |  |  |  |  |  |  |  |  |  |  | MOQ 10K pcs | MOQ 20K pcs
LED Glass Tube EMC, Surge 1.5kV | 10W | 26603 | 150 – 250 50/60Hz | 0.5 | 1100 | 110 | 3000/ 6500 | > 80 | PC, G13 | Glass | 20,000 |  | 
 | 20W | 261213 | 150 – 250 50/60Hz | 0.5 | 2200 | 110 | 3000/ 6500 | > 80 | PC, G13 | Glass | 20,000 |  | 
Specifications
High-quality powder coating: strong color rendering, low light decay, not easy to change color
Constant current driver
Lamp head: impact resistant, high temperature resistant, flame retardant
Applied standard: IEC 62776
Packing: Foam, 25pcs/carton
Feature
Polar Diagram Comparison

## Slide 3
Specifications
Feature
Replacement of incandescent and compact fluorescent lamp.
70% energy savings compared to existing incandescent bulbs.
Eco-friendly, no mercury, no UV or IR Radiation
Safety use, flicker free
Wide-angle light distribution
Applied standard: IEC 62560 & IEC 62612
3. BULB A
Application:
Hotel, office, meeting room, show room, shop, supermarket, living room, kitchen and other commercial places.
Packing: 50pcs/carton
7W
9W
12W
15W
20W
Model | Power (W) | Size (DL) mm | Voltage | PF | Lumens (lm) ±10% | Efficacy (lm/W) | CCT (K) | Ra | Cap | Body Material | Life time (hour) | FOB Haiphong port, Vietnam (USD)
 |  |  |  |  |  |  |  |  |  |  |  | MOQ 10K pcs
A55 5W | 5 | 55101 | 150 – 250 50/60Hz | 0.5 | 450 | 90 | 3000/6500 /7500 | > 80 | E27 | PC | 10,000 | 
A60 7W | 7 | 60111 | 150 – 250 50/60Hz | 0.5 | 630 | 90 | 3000/6500 /7500 | > 80 | E27 | AL-PC | 15,000 | 
A60 9W | 10 | 60111 | 150 – 250 50/60Hz | 0.5 | 830 | 92 | 3000/6500 /7500 | > 80 | E27 | AL-PC | 15,000 | 
A65 12W | 12 | 65x126 | 150 – 250 50/60Hz | 0.5 | 1080 | 90 | 3000/6500 /7500 | > 80 | E27 | AL-PC | 15,000 | 
A70 15W | 15 | 70x138 | 150 – 250 50/60Hz | 0.5 | 1380 | 92 | 3000/6500 /7500 | > 80 | E27 | AL-PC | 15,000 | 
A80 18W | 20 | 80155 | 150 – 250 50/60Hz | 0.5 | 1900 | 95 | 3000/6500 /7500 | > 80 | E27 | AL-PC | 15,000 | 

## Slide 4
Model | Power (W) | Size (ɸH) mm | Voltage | PF | Lumens (lm) | Efficacy (lm/W) | CCT (K) | Ra | Cap | Body Material | Life time (hour) | Price (USD) | 
 |  |  |  |  |  |  |  |  |  |  |  | MOQ 5K pcs | MOQ 10K pcs
T80 20W | 20 | 80145 | 150 – 250 50/60Hz | 0.5 | 1900 | 95 | 3000/ 6500/ 8000/ 10000/ 12000 | > 80 | E27/ B22 | AL-PC | 15,000 |  | 
T100 30W | 30 | 100185 | 150 – 250 50/60Hz | 0.5 | 2850 | 95 |  | > 80 | E27/ B22 | AL-PC | 15,000 |  | 
T120 40W | 40 | 120210 | 150 – 250 50/60Hz | 0.5 | 3800 | 95 |  | > 80 | E27/ B22 | AL-PC | 15,000 |  | 
T140 50W | 50 | 140x240 | 150 – 250 50/60Hz | 0.5 | 4750 | 95 |  | > 80 | E27/ B22 | AL-PC | 15,000 |  | 
Specifications
1. BULB T
Hotel, office, meeting room, show room, shop, supermarket, living room, kitchen and other commercial places.
Application:
Feature
Replacement of incandescent and compact fluorescent lamp.
70% energy savings compared to existing incandescent bulbs.
Eco-friendly, no mercury, no UV or IR Radiation
Safety use, flicker free
Wide-angle light distribution
Multiple color temperature available: 3000K, 6500K, 8000K,10000K, 12000K
Applied standard: IEC 62560 & IEC 62612

## Slide 5
Specifications
4. SLIM ROUND PANEL
hotel, office, meeting room, show room, shop, hospital, supermarket, bathroom, bedrooms, living room, kitchen and other commercial places.
Application:
Feature
Thin and strong aluminum alloy frame structure and not easily deformed
Easy and quick installation to save labor costs
No flicker to protect human eyes
High CRI > 80 ensures more vivid and natural light
Environment friendly: No lead or mercury and No UV or IR Radiation
Long life time 35,000 hrs
Model | Power (W) | Size (DL) mm | Cut hole (mm) | Voltage (V) | PF | Lumens (lm) 10% | CCT (K) | Ra | Beam angle (o) | IP | Life time (hours) | FOB Haiphong port, Vietnam (USD)
 |  |  |  |  |  |  |  |  |  |  |  | MOQ 10K pcs
PN 80/3W | 3 | 8014 | 70 | 100 – 265 50/60Hz | 0.5 | 160 | 3000/4000/ 6500 | > 80 | 110 | 20 | 35,000 | 
PN 120/6W | 6 | 12014 | 105 | 100 – 265 50/60Hz | 0.5 | 420 | 3000/4000/ 6500 | > 80 | 110 | 20 | 35,000 | 
PN 145/9W | 9 | 14514 | 130 | 100 – 265 50/60Hz | 0.5 | 660 | 3000/4000/ 6500 | > 80 | 110 | 20 | 35,000 | 
PN 170/12W | 12 | 170x14 | 155 | 100 – 265 50/60Hz | 0.5 | 1050 | 3000/4000/ 6500 | > 80 | 110 | 20 | 35,000 | 
PN 225/18W | 18 | 225x14 | 210 | 100 – 265 50/60Hz | 0.5 | 1720 | 3000/4000/ 6500 | > 80 | 110 | 20 | 35,000 | 

## Slide 6
LED Ceiling Light _ Serie LN12
Specifications:
Model | Size (mm) | Power (W) | Voltage/ Frequency | Lumen (lm) | Efficacy (lm/W) | CRI (Ra) | CCT (K) | PF | IP | Life time (hrs) | Material | FOB Haiphong(USD/pc)
LN12N 170/12W | 160x36 | 12 | 150 - 250V/ 50-60Hz | 900/810 | 75/68 | 80 | 6500/ 3000 | 0.5 | 54 | 25,000 | PC | 
LN12N 170x170/12W | 160x160x36 |  |  |  |  |  |  |  |  |  |  | 
LN12N 220/18W | 220x36 | 18 | 150 - 250V/ 50-60Hz | 1400/ 1260 | 78/70 | 80 | 6500/ 3000 | 0.5 | 54 | 25,000 | PC | 
LN12N 220x220/18W | 220x220x36 |  |  |  |  |  |  |  |  |  |  | 
LN12N 300/24W | 280x36 | 24 | 150 - 250V/ 50-60Hz | 2000/ 1800 | 83/75 | 80 | 6500/ 3000 | 0.5 | 54 | 25,000 | PC | 
LN12N 300x300/24W | 280x280x36 |  |  |  |  |  |  |  |  |  |  | 
Application:
Residence, living room, hallway, office
Bar, cafe, clothing store, etc
Features:
Eco-friendly: No mercury, less CO2 emissions, no UV/IR
Complied with RoHS standard
Easy to install and maintain
Lifetime: 25,000 (hrs), saving maintenance cost
Applied standard: IEC 60598-1, IEC 62722-2-1, EMC
SQUARE 12/18/24W
ROUND 12/18/24W